This table is taken from the The Design Brief page of the COSS website:

http://www.dtascommunityownership.org.uk/

| Building/Landscape Design Brief The brief where possible should describe or provide issues to be addressed on the following: |  |
| --- | --- |
| Background to the Project | The Site/Building Location Plans Background Information Available (Surveys etc) |
| The Client | Who they are Their vision, mission, and objectives as an organisation |
| Aims of project | What the client wants from the Building/Land |
| Detailed Requirements (where possible/appropriate and potentially room by room) - Proposed Uses/Users and kinds of activities to be accommodated - no of homes, workspace types etc plus ancillary space e.g. storage, kitchens, tea points, meeting rooms - Accessibility Requirements -who needs to be able to access the building - Environment and Services Requirements - Energy efficiency -insulation, sensor controlled automatic lights when occupied/in use for example - Energy Generation - Water / Water harvesting - Lighting/Natural light - Ventilation -natural or mechanical - Acoustics -for example activities may require more or less noise insulation - IT / Electricity supply requirements -for example some workspace users may need particular kinds of supplies - Waste and Recycling -facilities specified and located for ease of use by building users and managers - Safety and Security -alarms, controlled access (intercoms/swipe systems) shuttering (internal/ external) - Fixtures and Fittings - equipment, signage etc - Sanitary Provision -WC's, Washing/shower facilities - Cleaning/maintenance equipment storage - External areas - Storage - Access - parking and loading - Cycle racks / security - Specific facilities - play areas, seating etc |  |
| Proposed Programme and Budget | (where possible/appropriate) |
| Other Attributes | Feel Atmosphere Comfort |